## Sheet3
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1111001422 |  | Serial number of connected stacker:
Firmware: V_3.22_12/10_Infinite (Dec 14 2010/13.07.14) |  |  |  | MAI, V_3.22_12/10_Infinite (Dec 14 2010/13.07.14)
Date: | 31.10.2024
Time: | 10:56:32
System |  |  |  | NTNU06826
User |  |  |  | WIN-NTNU-NO\ameggesb
Plate |  |  |  | Corning 96 Flat Bottom Transparent Polystyrene Cat. No.: 3635 [COR96fc UV transparent.pdfx]
Plate-ID (Stacker)
Wait (Plate) |  |  |  | On | Target Temperature: 21 °C
Label: Label1
Mode |  |  |  | Absorbance
Wavelength |  |  |  | 240 | nm
Bandwidth |  |  |  | 5 | nm
Pathlength Test Wavelength |  |  |  | 977 | nm
Bandwidth |  |  |  | 9 | nm
Pathlength Reference Wavelength |  |  |  | 900 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 25
Settle Time |  |  |  | 0 | ms
Pathlength Correction Factor (Manual) |  |  |  | 0.186
Part of Plate |  |  |  | B10-H12
Start Time: | 31.10.2024 10:56:32
Temperature: 21.8 °C
Label1
<> | 10 | 11 | 12 | gj
B | 1.9138 | 1.9043 | 1.9023 | 1.9068
C | 1.5621 | 1.5497 | 1.5427 | 1.5515
D | 1.1912 | 1.1839 | 1.1749 | 1.1834
E | 0.78971 | 0.86514 | 0.84051 | 0.83179
F | 0.45174 | 0.45146 | 0.46847 | 0.45722
G | 0.29601 | 0.28802 | 0.28531 | 0.28978
H | 0.096747 | 0.092758 | 0.096062 | 0.095189
Pathlength test wavelength
<> | 10 | 11 | 12
B | 0.1732 | 0.17483 | 0.16636
C | 0.17055 | 0.17081 | 0.16737
D | 0.16969 | 0.16779 | 0.16731
E | 0.17227 | 0.17058 | 0.16856
F | 0.16898 | 0.16734 | 0.16738
G | 0.16715 | 0.16712 | 0.16704
H | 0.16828 | 0.1651 | 0.1633
Pathlength reference wavelength
<> | 10 | 11 | 12
B | 0.042375 | 0.044787 | 0.036747
C | 0.038721 | 0.039538 | 0.036983
D | 0.037527 | 0.036719 | 0.03779
E | 0.038668 | 0.039082 | 0.037384
F | 0.039085 | 0.03658 | 0.03667
G | 0.037793 | 0.037766 | 0.038173
H | 0.03966 | 0.036297 | 0.036402
Pathlength corrected Label1
<> | 10 | 11 | 12
B | 2.7211 | 2.7238 | 2.7299
C | 2.204 | 2.1959 | 2.2007
D | 1.6764 | 1.6801 | 1.6873
E | 1.0994 | 1.2237 | 1.1918
F | 0.64687 | 0.64217 | 0.66664
G | 0.42564 | 0.41416 | 0.41179
H | 0.1399 | 0.13394 | 0.1408
Pathlength [cm] Label1
<> | 10 | 11 | 12
B | 0.70333 | 0.69913 | 0.69687
C | 0.70873 | 0.70574 | 0.70103
D | 0.71057 | 0.70468 | 0.69632
E | 0.71829 | 0.70697 | 0.70526
F | 0.69835 | 0.70303 | 0.70273
G | 0.69546 | 0.69544 | 0.69284
H | 0.69152 | 0.69251 | 0.68223
End Time: | 31.10.2024 10:57:40
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_3.22_12/10_Infinite (Dec 14 2010/13.07.14) MTP, V_3.22_12/10_Infinite (Dec 14 2010/13.07.14) CUV, V_3.22_12/10_Infinite (Dec 14 2010/13.07.14) HCP, V_2.02_05/06_HCP (May 23 2006/14.05.27) MEM, V_2.14_01/11_MCR (Mar 3 2011/09.03.17) MEX, V_2.14_01/11_MCR (Mar 3 2011/09.02.39) ZSCAN, V_3.22_12/10_Infinite (Dec 14 2010/13.07.14)

## Ark1
SAMMENDRAG (UTDATA)
Regresjonsstatistikk
Multippel R | 0.99993
R-kvadrat | 0.99986
Justert R-kvadrat | 0.99982
Standardfeil | 0.0083254
Observasjoner | 6
Variansanalyse
| fg | SK | GK | F | Signifkans-F
Regresjon | 1 | 1.9128 | 1.9128 | 27596.198 | 7.8768e-09
Residualer | 4 | 0.00027725 | 6.9312e-05
Totalt | 5 | 1.913
| Koeffisienter | Standardfeil | t-Stat | P-verdi | Nederste 95% | Øverste 95% | Nedre 95,0% | Øverste 95,0%
Skjæringspunkt | 0.11484 | 0.0064782 | 17.7277 | 5.9482e-05 | 0.096857 | 0.13283 | 0.096857 | 0.13283
X-variabel 1 | 0.011821 | 7.1161e-05 | 166.121 | 7.8768e-09 | 0.011624 | 0.012019 | 0.011624 | 0.012019

## Sheet2
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1111001422 |  | Serial number of connected stacker:
Firmware: V_3.22_12/10_Infinite (Dec 14 2010/13.07.14) |  |  |  | MAI, V_3.22_12/10_Infinite (Dec 14 2010/13.07.14)
Date: | 31.10.2024
Time: | 10:55:33
System |  |  |  | NTNU06826
User |  |  |  | WIN-NTNU-NO\ameggesb
Plate |  |  |  | Corning 96 Flat Bottom Transparent Polystyrene Cat. No.: 3635 [COR96fc UV transparent.pdfx]
Plate-ID (Stacker)
Wait (Plate) |  |  |  | On | Target Temperature: 21 °C
Label: Label1
Mode |  |  |  | Absorbance
Measurement Wavelength |  |  |  | 240 | nm
Bandwidth |  |  |  | 5 | nm
Number of Flashes |  |  |  | 25
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | B10-H12
Start Time: | 31.10.2024 10:55:33
Temperature: 21.7 °C
<> | 10 | 11 | 12 | sum: | sd:
B | 1.898 | 1.882 | 1.8764 | 1.8855 | 0.01121
C | 1.5465 | 1.5371 | 1.5283 | 1.5373 | 0.0091016
D | 1.1833 | 1.1799 | 1.1688 | 1.1773 | 0.0075831
E | 0.7792 | 0.8715 | 0.8463 | 0.83233 | 0.047709
F | 0.4274 | 0.4693 | 0.4756 | 0.45743 | 0.0262
G | 0.3128 | 0.2884 | 0.2927 | 0.29797 | 0.013025
H | 0.1 | 0.0964 | 0.1 | 0.0988 | 0.0020785
End Time: | 31.10.2024 10:55:56
conc TPA (μM)
15 | 0.298
30 | 0.457
60 | 0.832
90 | 1.177
120 | 1.537
150 | 1.885
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_3.22_12/10_Infinite (Dec 14 2010/13.07.14) MTP, V_3.22_12/10_Infinite (Dec 14 2010/13.07.14) CUV, V_3.22_12/10_Infinite (Dec 14 2010/13.07.14) HCP, V_2.02_05/06_HCP (May 23 2006/14.05.27) MEM, V_2.14_01/11_MCR (Mar 3 2011/09.03.17) MEX, V_2.14_01/11_MCR (Mar 3 2011/09.02.39) ZSCAN, V_3.22_12/10_Infinite (Dec 14 2010/13.07.14)